## Start Here
CMS Appendix Z Emergency Preparedness Self-Readiness Assessment
Assessment Information |  | How to Use This Workbook
Organization / Facility |  | 1 | Select the organization’s CMS provider/supplier type on this page.
Provider / Supplier Type |  | 2 | On the Assessment sheet, confirm whether each E-tag applies to the organization.
CMS Certification Number |  | 3 | Select Met, Partially Met, Not Met, Not Applicable, or Not Assessed.
Assessment Date | 2026-07-22 14:06 | 4 | Document objective evidence reviewed and summarize findings.
Lead Assessor |  | 5 | Enter corrective-action owners and target dates for gaps.
Executive Sponsor |  | 6 | Use the CAP Tracker to manage remediation and validation.
Next Scheduled Review |  | 7 | Use the Dashboard to present overall readiness to leadership.
Important Use Statement
This workbook is a technical-assistance and self-assessment tool. It does not replace the CMS Emergency Preparedness Rule, the provider-specific regulation, the State Operations Manual Appendix Z, state law, accreditation requirements, or surveyor judgment. Applicability varies by provider type. Validate requirements against the current Appendix Z and the organization’s specific CMS certification.
Primary Source
CMS State Operations Manual, Appendix Z — Emergency Preparedness for All Provider and Certified Supplier Types: https://www.cms.gov/regulations-and-guidance/guidance/manuals/downloads/som107ap_z_emergprep.pdf

## Assessment
Domain | E-Tag | Requirement Area | Readiness Question / Requirement Summary | Typical Applicability | Applicable? | Status | Score | Evidence Reviewed / Location | Findings / Gap Description | Risk Priority | Corrective Action | Owner | Target Date | Validation Date | Assessor Notes
Program Foundation | E-0001 | Overall emergency preparedness program | Can the facility demonstrate that it has implemented and can produce evidence for the following requirement: Establish and maintain a comprehensive emergency preparedness program that complies with applicable federal, state, and local requirements. | All covered provider and supplier types except transplant programs are individually surveyed under the hospital program. |  | Not Assessed |  | Program charter; leadership approval; regulatory inventory
Program Foundation | E-0002 | Transplant program inclusion | Can the facility demonstrate that it has implemented and can produce evidence for the following requirement: Ensure each transplant program is included in the hospital emergency preparedness planning and program. | Hospital transplant programs only. |  | Not Assessed |  | Hospital plan; transplant representative participation records
Program Foundation | E-0003 | ESRD program foundation | Can the facility demonstrate that it has implemented and can produce evidence for the following requirement: Establish and maintain the ESRD emergency preparedness program, including dialysis-specific hazards and continuity needs. | ESRD facilities only. |  | Not Assessed |  | ESRD emergency plan; water/power contingency documentation
Emergency Plan | E-0004 | Emergency plan established | Can the facility demonstrate that it has implemented and can produce evidence for the following requirement: Develop and maintain a comprehensive emergency plan that meets the provider-specific regulation. | All covered provider and supplier types. |  | Not Assessed |  | Approved emergency plan; document-control record
Emergency Plan | E-0005 | Transplant policies included | Can the facility demonstrate that it has implemented and can produce evidence for the following requirement: Include transplant emergency preparedness policies within the hospital emergency preparedness program. | Hospital transplant programs only. |  | Not Assessed |  | Transplant policies; hospital integration evidence
Emergency Plan | E-0006 | Risk assessment and all-hazards planning | Can the facility demonstrate that it has implemented and can produce evidence for the following requirement: Base the plan on documented facility- and community-based risk assessments using an all-hazards approach, including emerging infectious diseases; develop strategies for identified risks. | All covered provider and supplier types. |  | Not Assessed |  | HVA; community risk information; mitigation strategies
Emergency Plan | E-0007 | Population, capabilities, continuity, authority and succession | Can the facility demonstrate that it has implemented and can produce evidence for the following requirement: Address the patient/client/resident population, persons at risk, facility capabilities, continuity of operations, delegations of authority, and succession planning. | Most covered provider and supplier types; OPO has a specialized version at E-0008. |  | Not Assessed |  | Population profile; COOP; delegation and succession documents
Emergency Plan | E-0008 | OPO population and continuity planning | Can the facility demonstrate that it has implemented and can produce evidence for the following requirement: Address hospital agreements, services the OPO can provide during emergencies, continuity of operations, delegation of authority, and succession. | OPOs only. |  | Not Assessed |  | OPO hospital agreements; COOP; succession plan
Emergency Plan | E-0009 | Cooperation and collaboration | Can the facility demonstrate that it has implemented and can produce evidence for the following requirement: Include a process for cooperation and collaboration with local, tribal, regional, state, and federal emergency preparedness officials and document efforts. | All covered provider and supplier types. |  | Not Assessed |  | Meeting records; coalition participation; outreach documentation
Emergency Plan | E-0010 | Alarm systems and fire containment | Can the facility demonstrate that it has implemented and can produce evidence for the following requirement: Address location and use of alarm systems/signals and methods of containing fire. | Outpatient PT/SLP organizations only. |  | Not Assessed |  | Alarm map; fire response procedure
Emergency Plan | E-0011 | Expert assistance in plan development | Can the facility demonstrate that it has implemented and can produce evidence for the following requirement: Develop and maintain the emergency plan with assistance from fire, safety, and other appropriate experts. | CORFs only. |  | Not Assessed |  | Consultation records; fire/safety review
Policies & Procedures | E-0012 | Transplant program participation | Can the facility demonstrate that it has implemented and can produce evidence for the following requirement: Maintain transplant emergency preparedness policies and participation within the hospital plan. | Hospital transplant programs only. |  | Not Assessed |  | Integrated policies; committee minutes
Policies & Procedures | E-0013 | Policies and procedures established and maintained | Can the facility demonstrate that it has implemented and can produce evidence for the following requirement: Develop and implement emergency policies and procedures based on the plan, risk assessment, and communication plan; review and update at the required frequency. | All covered provider and supplier types. |  | Not Assessed |  | Policy set; review log; approval documentation
Policies & Procedures | E-0014 | Transplant hospital/OPO protocols | Can the facility demonstrate that it has implemented and can produce evidence for the following requirement: Maintain mutually agreed emergency protocols defining responsibilities of the transplant program, hospital, and designated OPO. | Hospital transplant programs only. |  | Not Assessed |  | Signed protocols; OPO agreements
Policies & Procedures | E-0015 | Subsistence needs and alternate sources of energy | Can the facility demonstrate that it has implemented and can produce evidence for the following requirement: Address subsistence needs for staff and patients during sheltering or evacuation, including food, water, medical supplies, pharmaceutical supplies, alternate energy, temperature control, emergency lighting, fire systems, and sewage/waste disposal as applicable. | Primarily inpatient and residential provider types specified in Appendix Z. |  | Not Assessed |  | Supply calculations; generator/alternate power plan; vendor agreements
Policies & Procedures | E-0016 | Hospice follow-up procedures | Can the facility demonstrate that it has implemented and can produce evidence for the following requirement: Establish procedures to follow up with on-duty staff and patients to determine services needed during interruption and inform officials of patients needing evacuation. | Hospices only. |  | Not Assessed |  | Call-down protocol; patient prioritization list
Policies & Procedures | E-0017 | HHA patient follow-up and continuity | Can the facility demonstrate that it has implemented and can produce evidence for the following requirement: Establish procedures for follow-up with staff and patients and for informing officials of patients who may need evacuation or continued care. | Home health agencies only. |  | Not Assessed |  | Patient acuity classification; call-down logs
Policies & Procedures | E-0018 | Tracking of staff and patients | Can the facility demonstrate that it has implemented and can produce evidence for the following requirement: Track the location of on-duty staff and sheltered patients; document receiving locations when patients are relocated. | Specified inpatient, residential, and other provider types listed in Appendix Z. |  | Not Assessed |  | Tracking forms; receiving-location logs
Policies & Procedures | E-0019 | Hospice inpatient tracking | Can the facility demonstrate that it has implemented and can produce evidence for the following requirement: Track staff and patients at inpatient hospice facilities and document receiving locations during relocation. | Inpatient hospices only. |  | Not Assessed |  | Patient/staff census tracking
Policies & Procedures | E-0020 | Safe evacuation | Can the facility demonstrate that it has implemented and can produce evidence for the following requirement: Maintain safe evacuation procedures, including care/treatment needs, staff responsibilities, transportation, evacuation locations, and primary/alternate communications. | Applicable provider and supplier types specified in Appendix Z. |  | Not Assessed |  | Evacuation plan; transportation agreements; route maps
Policies & Procedures | E-0021 | HHA evacuation responsibilities | Can the facility demonstrate that it has implemented and can produce evidence for the following requirement: Define the HHA role in providing care and treatment at alternate locations during an emergency. | Home health agencies only. |  | Not Assessed |  | Alternate-service delivery procedure
Policies & Procedures | E-0022 | Shelter in place | Can the facility demonstrate that it has implemented and can produce evidence for the following requirement: Maintain procedures for sheltering patients, staff, and volunteers who remain in the facility. | Applicable facility-based provider types. |  | Not Assessed |  | Shelter-in-place plan; supply inventory
Policies & Procedures | E-0023 | Medical documentation | Can the facility demonstrate that it has implemented and can produce evidence for the following requirement: Preserve patient information, protect confidentiality, and maintain availability of records during emergencies. | Applicable provider and supplier types. |  | Not Assessed |  | EHR downtime procedures; paper forms; record backup
Policies & Procedures | E-0024 | Volunteers and emergency staffing | Can the facility demonstrate that it has implemented and can produce evidence for the following requirement: Address use of volunteers, state/federally designated professionals, and other emergency staffing strategies. | Applicable provider and supplier types. |  | Not Assessed |  | Volunteer policy; credentialing; staffing contingencies
Policies & Procedures | E-0025 | Receiving arrangements and continuity | Can the facility demonstrate that it has implemented and can produce evidence for the following requirement: Develop written arrangements with other facilities/providers to receive patients if operations are limited or cease and maintain continuity of services. | Specified inpatient, residential, CMHC, ESRD, PACE, CAH, and similar provider types. |  | Not Assessed |  | MOUs; transfer agreements; transportation arrangements
Policies & Procedures | E-0026 | §1135 waiver and alternate care sites | Can the facility demonstrate that it has implemented and can produce evidence for the following requirement: Address the facility’s role under an HHS §1135 waiver, including provision of care at alternate care sites identified by emergency management officials. | Applicable provider and supplier types specified in Appendix Z. |  | Not Assessed |  | 1135 waiver procedure; alternate care site plan
Policies & Procedures | E-0027 | Emergency medical system assistance | Can the facility demonstrate that it has implemented and can produce evidence for the following requirement: Define how emergency medical system assistance will be obtained when needed. | ESRD facilities only. |  | Not Assessed |  | EMS activation procedure
Policies & Procedures | E-0028 | Dialysis emergency equipment and orientation | Can the facility demonstrate that it has implemented and can produce evidence for the following requirement: Address dialysis-specific emergency equipment and patient-related procedures required by the ESRD regulation. | ESRD facilities only. |  | Not Assessed |  | Emergency equipment inventory; patient instructions
Communication Plan | E-0029 | Communication plan established | Can the facility demonstrate that it has implemented and can produce evidence for the following requirement: Develop and maintain an emergency communication plan compliant with federal, state, and local law and update it at the required frequency. | All covered provider and supplier types. |  | Not Assessed |  | Approved communication plan; review record
Communication Plan | E-0030 | Contact information | Can the facility demonstrate that it has implemented and can produce evidence for the following requirement: Maintain names and contact information for staff, entities under arrangement, practitioners, other facilities, and volunteers as applicable. | All covered provider and supplier types. |  | Not Assessed |  | Current contact rosters; verification dates
Communication Plan | E-0031 | Emergency officials and assistance sources | Can the facility demonstrate that it has implemented and can produce evidence for the following requirement: Maintain contact information for federal, state, tribal, regional, and local emergency preparedness staff and other assistance sources. | All covered provider and supplier types. |  | Not Assessed |  | Emergency contact directory
Communication Plan | E-0032 | Primary and alternate communications | Can the facility demonstrate that it has implemented and can produce evidence for the following requirement: Maintain primary and alternate means of communicating with staff and emergency management agencies. | All covered provider and supplier types. |  | Not Assessed |  | Redundant communications inventory; testing logs
Communication Plan | E-0033 | Patient information and status sharing | Can the facility demonstrate that it has implemented and can produce evidence for the following requirement: Provide methods for sharing patient information and medical documentation, releasing information during evacuation, and reporting general condition/location consistent with law. | Provider-specific variations apply. |  | Not Assessed |  | Transfer packet; HIPAA emergency procedure; status reporting process
Communication Plan | E-0034 | Facility needs and capability reporting | Can the facility demonstrate that it has implemented and can produce evidence for the following requirement: Provide a means to communicate facility needs and ability to assist to the authority having jurisdiction, incident command center, or designee. | All covered provider and supplier types. |  | Not Assessed |  | Situation report template; status reporting procedure
Communication Plan | E-0035 | Resident/client and family information | Can the facility demonstrate that it has implemented and can produce evidence for the following requirement: Provide required information about the emergency plan and communication processes to residents/clients and their representatives or families. | LTC facilities and ICF/IIDs only. |  | Not Assessed |  | Resident/family notice; admission materials
Training & Testing | E-0036 | Training and testing program | Can the facility demonstrate that it has implemented and can produce evidence for the following requirement: Develop and maintain a training and testing program based on the emergency plan, risk assessment, policies, and communication plan. | All covered provider and supplier types. |  | Not Assessed |  | Training/testing policy; annual calendar
Training & Testing | E-0037 | Training program | Can the facility demonstrate that it has implemented and can produce evidence for the following requirement: Provide initial and recurring emergency preparedness training, document training, demonstrate staff knowledge, and provide additional training when changes occur. | All covered provider and supplier types, with provider-specific frequency variations. |  | Not Assessed |  | Training rosters; competency checks; orientation content
Training & Testing | E-0038 | ESRD staff training | Can the facility demonstrate that it has implemented and can produce evidence for the following requirement: Provide ESRD-specific emergency preparedness training, including patient-related emergency procedures. | ESRD facilities only. |  | Not Assessed |  | ESRD staff training records
Training & Testing | E-0039 | Testing and exercises | Can the facility demonstrate that it has implemented and can produce evidence for the following requirement: Conduct required exercises, analyze response, document AAR/IP, and use actual emergency exemptions correctly when applicable. | All covered provider and supplier types except transplant programs are included through hospital exercises. |  | Not Assessed |  | Exercise records; AAR/IP; corrective-action evidence
Training & Testing | E-0040 | ESRD patient orientation and training | Can the facility demonstrate that it has implemented and can produce evidence for the following requirement: Provide emergency preparedness orientation and training to dialysis patients. | ESRD facilities only. |  | Not Assessed |  | Patient education records; handouts
Emergency Power | E-0041 | Emergency and standby power systems | Can the facility demonstrate that it has implemented and can produce evidence for the following requirement: Implement emergency and standby power systems based on the plan and policies; address inspection, testing, fuel, location, and applicable emergency power standards. | Hospitals, LTC facilities, and CAHs; other providers may have related LSC/physical environment obligations. |  | Not Assessed |  | Generator testing; fuel plan; load analysis; maintenance records
Integrated Systems | E-0042 | Unified and integrated healthcare system program | Can the facility demonstrate that it has implemented and can produce evidence for the following requirement: When participating in a unified system program, ensure the program reflects each separately certified facility’s hazards, population, policies, communication, training, and exercises. | Optional for separately certified facilities within a multi-facility healthcare system. |  | Not Assessed |  | System plan; facility annex; participation approval; facility-specific evidence

## Dashboard
Appendix Z Readiness Dashboard
Readiness Metrics | Value | Readiness by Domain
Applicable Requirements Assessed | 0 | Domain | Applicable Items | Readiness Score
Overall Readiness Score | 0% | Program Foundation | 0 | 0%
Met | 0 | Emergency Plan | 0 | 0%
Partially Met | 0 | Policies & Procedures | 0 | 0%
Not Met | 0 | Communication Plan | 0 | 0%
Not Assessed | 0 | Training & Testing | 0 | 0%
Open Critical/High Gaps | 0 | Emergency Power | 0 | 0%
|  | Integrated Systems | 0 | 0%

## CAP Tracker
CAP ID | E-Tag | Gap / Deficiency | Risk Priority | Corrective Action | Responsible Owner | Target Date | Status | Validation Method | Validation Date | Effectiveness Verified? | Closure Notes
CAP-001 | [6 empty] | Open
CAP-002 | [6 empty] | Open
CAP-003 | [6 empty] | Open
CAP-004 | [6 empty] | Open
CAP-005 | [6 empty] | Open
CAP-006 | [6 empty] | Open
CAP-007 | [6 empty] | Open
CAP-008 | [6 empty] | Open
CAP-009 | [6 empty] | Open
CAP-010 | [6 empty] | Open
CAP-011 | [6 empty] | Open
CAP-012 | [6 empty] | Open
CAP-013 | [6 empty] | Open
CAP-014 | [6 empty] | Open
CAP-015 | [6 empty] | Open
CAP-016 | [6 empty] | Open
CAP-017 | [6 empty] | Open
CAP-018 | [6 empty] | Open
CAP-019 | [6 empty] | Open
CAP-020 | [6 empty] | Open
CAP-021 | [6 empty] | Open
CAP-022 | [6 empty] | Open
CAP-023 | [6 empty] | Open
CAP-024 | [6 empty] | Open
CAP-025 | [6 empty] | Open
CAP-026 | [6 empty] | Open
CAP-027 | [6 empty] | Open
CAP-028 | [6 empty] | Open
CAP-029 | [6 empty] | Open
CAP-030 | [6 empty] | Open
CAP-031 | [6 empty] | Open
CAP-032 | [6 empty] | Open
CAP-033 | [6 empty] | Open
CAP-034 | [6 empty] | Open
CAP-035 | [6 empty] | Open
CAP-036 | [6 empty] | Open
CAP-037 | [6 empty] | Open
CAP-038 | [6 empty] | Open
CAP-039 | [6 empty] | Open
CAP-040 | [6 empty] | Open
CAP-041 | [6 empty] | Open
CAP-042 | [6 empty] | Open
CAP-043 | [6 empty] | Open
CAP-044 | [6 empty] | Open
CAP-045 | [6 empty] | Open
CAP-046 | [6 empty] | Open
CAP-047 | [6 empty] | Open
CAP-048 | [6 empty] | Open
CAP-049 | [6 empty] | Open
CAP-050 | [6 empty] | Open
CAP-051 | [6 empty] | Open
CAP-052 | [6 empty] | Open
CAP-053 | [6 empty] | Open
CAP-054 | [6 empty] | Open
CAP-055 | [6 empty] | Open
CAP-056 | [6 empty] | Open
CAP-057 | [6 empty] | Open
CAP-058 | [6 empty] | Open
CAP-059 | [6 empty] | Open
CAP-060 | [6 empty] | Open
CAP-061 | [6 empty] | Open
CAP-062 | [6 empty] | Open
CAP-063 | [6 empty] | Open
CAP-064 | [6 empty] | Open
CAP-065 | [6 empty] | Open
CAP-066 | [6 empty] | Open
CAP-067 | [6 empty] | Open
CAP-068 | [6 empty] | Open
CAP-069 | [6 empty] | Open
CAP-070 | [6 empty] | Open
CAP-071 | [6 empty] | Open
CAP-072 | [6 empty] | Open
CAP-073 | [6 empty] | Open
CAP-074 | [6 empty] | Open
CAP-075 | [6 empty] | Open
CAP-076 | [6 empty] | Open
CAP-077 | [6 empty] | Open
CAP-078 | [6 empty] | Open
CAP-079 | [6 empty] | Open
CAP-080 | [6 empty] | Open
CAP-081 | [6 empty] | Open
CAP-082 | [6 empty] | Open
CAP-083 | [6 empty] | Open
CAP-084 | [6 empty] | Open
CAP-085 | [6 empty] | Open
CAP-086 | [6 empty] | Open
CAP-087 | [6 empty] | Open
CAP-088 | [6 empty] | Open
CAP-089 | [6 empty] | Open
CAP-090 | [6 empty] | Open
CAP-091 | [6 empty] | Open
CAP-092 | [6 empty] | Open
CAP-093 | [6 empty] | Open
CAP-094 | [6 empty] | Open
CAP-095 | [6 empty] | Open
CAP-096 | [6 empty] | Open
CAP-097 | [6 empty] | Open
CAP-098 | [6 empty] | Open
CAP-099 | [6 empty] | Open
CAP-100 | [6 empty] | Open

## Evidence Index
Evidence ID | E-Tag(s) Supported | Document / Record Title | Evidence Type | Owner / Department | Storage Location / Link | Effective Date | Last Review Date | Next Review Due | Current? | Notes
EV-001
EV-002
EV-003
EV-004
EV-005
EV-006
EV-007
EV-008
EV-009
EV-010
EV-011
EV-012
EV-013
EV-014
EV-015
EV-016
EV-017
EV-018
EV-019
EV-020
EV-021
EV-022
EV-023
EV-024
EV-025
EV-026
EV-027
EV-028
EV-029
EV-030
EV-031
EV-032
EV-033
EV-034
EV-035
EV-036
EV-037
EV-038
EV-039
EV-040
EV-041
EV-042
EV-043
EV-044
EV-045
EV-046
EV-047
EV-048
EV-049
EV-050
EV-051
EV-052
EV-053
EV-054
EV-055
EV-056
EV-057
EV-058
EV-059
EV-060
EV-061
EV-062
EV-063
EV-064
EV-065
EV-066
EV-067
EV-068
EV-069
EV-070
EV-071
EV-072
EV-073
EV-074
EV-075
EV-076
EV-077
EV-078
EV-079
EV-080
EV-081
EV-082
EV-083
EV-084
EV-085
EV-086
EV-087
EV-088
EV-089
EV-090
EV-091
EV-092
EV-093
EV-094
EV-095
EV-096
EV-097
EV-098
EV-099
EV-100

## Provider Guide
CMS Emergency Preparedness Provider / Supplier Guide
Provider / Supplier Type | Regulatory Citation | Typical Review Cycle | Typical Training Cycle | Typical Testing Cycle
Religious Nonmedical Health Care Institution (RNHCI) | 42 CFR §403.748 | Every 2 years | Every 2 years | Annual exercise cycle
Ambulatory Surgical Center (ASC) | 42 CFR §416.54 | Every 2 years | Every 2 years | Annual exercise cycle
Hospice | 42 CFR §418.113 | Every 2 years | Every 2 years | Varies by inpatient/home-based status
Psychiatric Residential Treatment Facility (PRTF) | 42 CFR §441.184 | Every 2 years | Every 2 years | Annual exercise cycle
PACE Organization | 42 CFR §460.84 | Every 2 years | Every 2 years | Annual exercise cycle
Hospital | 42 CFR §482.15 | Every 2 years | Every 2 years | Two exercises annually
Hospital Transplant Program | 42 CFR §482.78 | Included in hospital program | Included in hospital program | Included in hospital exercises
Long-Term Care Facility | 42 CFR §483.73 | Annually | Annually | Two exercises annually
ICF/IID | 42 CFR §483.475 | Every 2 years | Every 2 years | Two exercises annually
Home Health Agency | 42 CFR §484.102 | Every 2 years | Every 2 years | Annual exercise cycle
Comprehensive Outpatient Rehabilitation Facility (CORF) | 42 CFR §485.68 | Every 2 years | Every 2 years | Annual exercise cycle
Critical Access Hospital (CAH) | 42 CFR §485.625 | Every 2 years | Every 2 years | Two exercises annually
Outpatient PT/SLP Organization | 42 CFR §485.727 | Every 2 years | Every 2 years | Annual exercise cycle
Community Mental Health Center (CMHC) | 42 CFR §485.920 | Every 2 years | Every 2 years | Annual exercise cycle
Organ Procurement Organization (OPO) | 42 CFR §486.360 | Every 2 years | Every 2 years | Annual exercise cycle
Rural Health Clinic / FQHC | 42 CFR §491.12 | Every 2 years | Every 2 years | Annual exercise cycle
End-Stage Renal Disease Facility | 42 CFR §494.62 | Every 2 years | Every 2 years | Annual exercise cycle
Provider-specific variations are summarized for planning use. Always validate the precise regulation, Appendix Z notes, and current CMS guidance for the selected certification type.

## Lists
Assessment Status | Priority | Yes/No | CAP Status | Provider / Supplier Type | Regulatory Citation | Typical Review Cycle | Typical Training Cycle | Typical Testing Cycle
Not Assessed | Critical | Yes | Open | Religious Nonmedical Health Care Institution (RNHCI) | 42 CFR §403.748 | Every 2 years | Every 2 years | Annual exercise cycle
Met | High | No | In Progress | Ambulatory Surgical Center (ASC) | 42 CFR §416.54 | Every 2 years | Every 2 years | Annual exercise cycle
Partially Met | Moderate |  | Pending Validation | Hospice | 42 CFR §418.113 | Every 2 years | Every 2 years | Varies by inpatient/home-based status
Not Met | Low |  | Closed | Psychiatric Residential Treatment Facility (PRTF) | 42 CFR §441.184 | Every 2 years | Every 2 years | Annual exercise cycle
Not Applicable |  |  | On Hold | PACE Organization | 42 CFR §460.84 | Every 2 years | Every 2 years | Annual exercise cycle
|  |  |  | Hospital | 42 CFR §482.15 | Every 2 years | Every 2 years | Two exercises annually
|  |  |  | Hospital Transplant Program | 42 CFR §482.78 | Included in hospital program | Included in hospital program | Included in hospital exercises
|  |  |  | Long-Term Care Facility | 42 CFR §483.73 | Annually | Annually | Two exercises annually
|  |  |  | ICF/IID | 42 CFR §483.475 | Every 2 years | Every 2 years | Two exercises annually
|  |  |  | Home Health Agency | 42 CFR §484.102 | Every 2 years | Every 2 years | Annual exercise cycle
|  |  |  | Comprehensive Outpatient Rehabilitation Facility (CORF) | 42 CFR §485.68 | Every 2 years | Every 2 years | Annual exercise cycle
|  |  |  | Critical Access Hospital (CAH) | 42 CFR §485.625 | Every 2 years | Every 2 years | Two exercises annually
|  |  |  | Outpatient PT/SLP Organization | 42 CFR §485.727 | Every 2 years | Every 2 years | Annual exercise cycle
|  |  |  | Community Mental Health Center (CMHC) | 42 CFR §485.920 | Every 2 years | Every 2 years | Annual exercise cycle
|  |  |  | Organ Procurement Organization (OPO) | 42 CFR §486.360 | Every 2 years | Every 2 years | Annual exercise cycle
|  |  |  | Rural Health Clinic / FQHC | 42 CFR §491.12 | Every 2 years | Every 2 years | Annual exercise cycle
|  |  |  | End-Stage Renal Disease Facility | 42 CFR §494.62 | Every 2 years | Every 2 years | Annual exercise cycle